LAFAYETTE WATER QUALITY ANALYSIS
January 2023


pH







7.3


Alkalinity






304 mg/L 



Temperature






15 oC



Fluoride






0.5 mg/L



Orthophosphate





0.5 mg/L



Total Chlorine





1.2 mg/L



Chloramines (combined)




1.7 mg/L



Total Ammonia





0.61 mg/L



Free Ammonia





0.18 mg/L


Nitrates


                                           1.2 mg/L


Nitrite







0.009 mg/L



Calcium






225 mg/L



Lead






           below detectable levels


Iron






           0.06 mg/L



Manganese






0.89 mg/L



Magnesium






179 mg/L


Sulfates





           34 mg/L


Conductivity





           669 mg/L




           Total Bacteria





            0
                     Total Hardness

                                               404 mg/L
                      Grains of Hardness                                                                24 grains per gallon
